## Table_doc_user
Category | Sub-category | Class[CD13] | Sub-classes | Average power -- | Average power -- | Average power -- | Average power --
|  |  |  | Active mode (W) | Stand-by mode (W) | Active mode (W) | Stand-by mode (W)
Scientific | Electrotechnical | Power supplies |  | 100 | 0
equipment | equipment | Amplifiers |  | 20 | 10
|  | Signal analysis |  | 10 | 10
|  | Calorimeters |  |  |  | 20 | 0.001
|  | Cellule axiale (biaxiale, triaxiale, etc. |  |  |  | 0 | 0
|  | Signal generators |  | 20 | 10
|  | Moteurs | Large Motor/Generator |  |  | 12000 | 0
|  |  | Small Motor/Actuator |  |  | 200 | 0
|  |  | Other Motorized Equipment |  |  | 50 | 0
|  | Multimeters |  |  |  | 21 | 0.003
|  | Oscilloscopes |  | 30 | 0
|  | Potentiostat |  |  |  | 211 | 0.001
|  | Voltmeter |  |  |  | 300 | 0.03
|  | Wattmeter |  |  |  | 25 | 0.005
|  | Other electrotechnical equip. | Ultra-Low |  |  | 2 | 0
|  |  | Low |  |  | 10 | 0
|  |  | Light Instruments |  |  | 30 | 0
|  |  | Typical Lab Instruments |  |  | 100 | 0
|  |  | Performance & Rack Equipment |  |  | 300 | 0
|  |  | Compact Utility Equipment |  |  | 1000 | 0
|  |  | Mid-Power Systems |  |  | 5000 | 0
|  |  | Industrial/High-Power System |  |  | 300000 | 0
| Machine tools | Coaters |  | 120 | 20
|  | Milling machine |  |  |  | 2228 | 215
|  | 3D printer |  | 90 | 10
|  | Driller |  | 720 | 0
|  | Press | Arc Welding Power Sources |  |  | 3780 | 63
|  |  | Electromechanical Press/Test |  |  | 2150 | 417
|  |  | Hydraulic Presses & Molding |  |  | 3700 | 675
|  |  | Laboratory Presses & Molding |  |  | 2400 | 700
|  |  | Non-Arc Welding Systems |  |  | 5500 | 150
|  |  | Precision Micro-Joining Systems |  |  | 540 | 12
|  |  | Welding Positioners & Rotators |  |  | 2700 | 30
|  | Saw | Laboratory Presses & Molding |  |  | 2400 | 700
|  |  | Manual/Non-Powered Devices |  |  | 0 | 0
|  |  | Precision/Low-Power Instruments |  |  | 750 | 49
|  |  | Standard Powered Saws |  |  | 3300 | 10
Other machine tools
|  | Compression & traction machines | Electromechanical Test Machines |  |  | 600 | 66
|  |  | High-Force Hydraulic Machines |  |  | 8300 | 1463
|  |  | High-Intensity Lamps/UV |  |  | 610 | 12
|  |  | Laboratory Mixers/Mills |  |  | 980 | 75
|  |  | Machine Tools |  |  | 1600 | 111
|  |  | Passive/Non-Powered |  |  | 0 | 0
|  |  | Precision Welding/Bonding |  |  | 580 | 68
|  |  | Vacuum/Extraction Unit |  |  | 920 | 624
| Mecanics | Pumps | Vaccum mechanical pumps (> 500W) | 820 | 0
|  |  | Vaccum diaphragm pumps (< 500W) | 90 | 0
|  |  | Laboratory suction pumps (< 100W) | 70 | 0
|  |  | Peristaltic pumps | 30 | 0
|  | Robots |  | 110 | 50
|  | Actuators | Electric Robots & Multi-Axis Actuators |  |  | 660 | 64
|  |  | Hydraulic Actuators & Cylinders |  |  | 11500 | 1969
|  |  | Laboratory Automation Devices |  |  | 300 | 64
|  |  | Laboratory Presses & Molding |  |  | 2400 | 700
|  |  | Mobile & Field Robots (Battery) |  |  | 200 | 10
|  |  | Motion Platforms & Wearables |  |  | 1200 | 92
|  |  | Precision Micro/Nano Positioners |  |  | 60 | 9
Other mechanical equipment
Other scientific equipment
| Measures / | Gas analyser |  | 5 | 5
| Detections | Electrochemical analyser |  |  |  | 200 | 43
|  | Scales |  | 5 | 5
|  | Lab cameras |  | 5 | 5
|  | Detectors |  |  |  | 170 | 119
|  | Probes |  |  |  | 65 | 43
|  | Spectrometers |  | 2500 | 2500
Other measuring equipment
| Microscopy | Laser-scanning microscope |  | 800 | 400
|  | AFM microscopes |  | 150 | 5
|  | Electronic microscopes | Microscope Support Equipment |  |  | 256 | 74
|  |  | Optical Microscope (Widefield) |  |  | 118 | 33
|  |  | Scanning Electron Microscope |  |  | 2250 | 1523
|  |  | Scanning Probe Microscope |  |  | 100 | 20
|  |  | Transmission Electron Microscope |  |  | 8000 | 5643
|  | Optical microscopes | Average confocal microscopes | 480 | 380
|  |  | Microscopes with incubation chamber | 800 | 10
|  |  | FL microscopes | 150 | 5
|  |  | Simple microscopes, reversed microscopes, and binocular lenses,… | 30 | 5
|  | Stereo microscopes |  |  |  | 30 | 2
|  | Pneumatic tables |  |  |  | 2 | 2
Other microscopy equipment
| Optics | Diffractometers |  | 30 | 10
|  | Lasers |  | 150 | 150
|  | Monochromateurs |  |  |  | 56 | 26
|  | Light sources | Light sources for microscope | 120 | 120
|  |  | Insect UV lights | 70 | 70
Other optical equipment
| Acoustic | Acoustics |  | 30 | 10
| Electrophysiological | EEG /ECG / EMG |  | 30 | 30
| & medical | Micromanipulator |  | 120 | 10
Other electrophysiolog. & medical equip.
| Miscellaneous | Agitator / Incubator | Simple agitators/incubators | 80 | 10
| lab equipment |  | Refrigerated incubators | 100 | 100
|  |  | 30 to 37°C incubators | 20 | 20
|  |  | Bench agitators (vortex, rockers, platforms, magnetic agitators, thermomixers…) | 30 | 5
|  |  | CO2 incubators | 60 | 60
|  |  | Climate chambers | 100 | 100
|  |  | Water-baths, bead-baths, dry-baths | 50 | 50
|  |  | Agitation heating plates | 80 | 80
|  | Aligner |  |  |  | ? | ?
|  | Centrifugation | Ultra centrifuges | 1300 | 130
|  |  | High-speed floor-standing centrifuges | 2200 | 110
|  |  | Large refrigerated bench top centrifuges | 610 | 20
|  |  | Large bench top centrifuges | 180 | 30
|  |  | 1.5mL refrigerated bench top centrifuges | 290 | 10
|  |  | 1.5mL bench top centrifuges | 140 | 5
|  |  | Mini centrifuges | 60 | 5
|  | Vacuum chamber |  | 100 | 100
|  | Chromatographs (HPLC, etc.) | FPLC | 50 | 50
|  |  | HPLC | 150 | 150
|  | Cell counter (FACS) |  | 10 | 10
|  | Cryogenics |  | 10 | 10
|  | Cryostats |  | 720 | 500
|  | Cytometer |  | 720 | 720
|  | Evaporator | Vacuum evaporators | 200 | 0
|  |  | Rotary vacuum evaporators | 50 | 0
|  | Drying ovens |  | 220 | 5
|  | Laminar flow hood | Old 180cm laminar flow hoods (>15yo) | 900 | 20
|  |  | Old 120cm laminar flow hoods (>15yo) | 490 | 10
|  |  | Recent 180cm laminar flow hoods (<15yo) | 290 | 10
|  |  | Recent 150cm laminar flow hoods (<15yo) | 180 | 10
|  | Lab ovens |  | 70 | 70
|  | Lyophilisator | Speed vacuum concentrators | 710 | 20
|  |  | Lyophilisator (> 1kW) | 1840 | 1840
|  | Microtomes |  | 30 | 30
|  | PCR / QPCR | PCR | 120 | 20
|  |  | QPCR | 370 | 110
|  | Chemical reactors |  |  |  | 1480 | 117
|  | RMN |  |  |  | 1480 | 0
|  | Sequencers |  | 20 | 20
|  | Deposition and engraving systems |  | 80 | 10
|  | Lab Freezer / Frigde | Old -80°C freezers (>12yo) | 1130 | 1130
|  |  | Recent -80°C freezers (<12yo) | 480 | 480
|  |  | Small +4°C or -20°C freezers (< 150L) | 30 | 30
|  |  | Big +4°C or -20°C freezers (> 150L) | 80 | 80
|  |  | Refrigerated display cabinets (fixed or mobile, 1-2m3) | 230 | 230
|  |  | Cold rooms (20m2) | 620 | 620
|  |  | Ice machines | 150 | 150
|  | Other biological, chem. and phys. equip. | Sonicators, homogenizers | 100 | 40
|  |  | Transfection systems, electroporators, gene pulsers | 50 | 40
|  |  | Water purifiers | 70 | 30
|  |  | Spectrophotometers, fluorimeters, luminometers | 20 | 10
|  |  | Plate readers | 60 | 20
|  |  | Plate washers | 30 | 10
|  |  | Imaging systems, geldocs | 120 | 5
|  |  | Microwaves | 1490 | 5
|  |  | Refrigerated baths, chillers | 330 | 330
|  |  | Ultrasound baths | 160 | 0
|  |  | Bioruptors | 50 | 10
|  |  | Emulsiflexes | 150 | 10
|  |  | Crushers | 80 | 10
|  |  | Euthanasia boxes | 10 | 0
|  |  | Stimulators | 20 | 10
|  |  | Pipette pullers | 50 | 10
|  |  | UV irradiators | 50 | 0
|  |  | Pipetting robots | 150 | 100
|  |  | Syringe pumps and injectors | 30 | 0
|  |  | Gel dryers | 260 | 5
|  |  | O2 concentrator generators | 290 | 290
|  |  | Other devices | 0 | 0
IT / |  | Servers |  | 160 | 30
Telecom |  | Desktop |  | 90 | 10
|  | Laptop |  | 30 | 10
|  | Monitors |  | 40 | 10
|  | Printers |  | 800 | 15
|  | Scanners |  | 20 | 10
|  | Software |  |  |  | 0 | 0
|  | Network |  |  |  | 70 | 56
|  | Components |  |  |  | 100 | 3
|  | Telecom |  | 10 | 5
Other IT / telecom equipment
Audiovisual |  | Photo camera |  |  |  | 30 | 10
|  | Beamer |  | 300 | 5
|  | Cameras |  | 5 | 5
|  | HF Microphones |  | 10 | 10
|  | Screens |  |  |  | 0 | 0
|  | Overhead projectors |  |  |  | 0 | 0
|  | Videoconferencing |  | 30 | 5
|  | Audio |  |  |  | 30 | 0
|  | Video |  |  |  | 30 | 0
Other audiovisual equipment
Infrastructure |  | Autoclaves | Bench top autoclaves | 570 | 20
|  |  | Autoclaves (150 L) | 2000 | 350
|  | Kitchen freezer |  |  |  | 2000 | 1
|  | Kitchen oven |  |  |  | 2000 | 0
|  | Hoods |  |  |  | 300 | 135
|  | CPG mobile equipment | CPG ventilation motors | 110 | 110
|  |  | Other CPG mobile equipment | 0 | 0
|  | CPG fixed equipment |  |  |  | 0 | 0
|  | Other infrastructure equipment | Distillation equipment | 5600 | 0
|  |  | Washers |  |  | 0 | 0
Stewardship |  | Vehicles |  |  |  | 1300 | 0
|  | Camipro |  |  |  | 0 | 0
|  | Cleaning equipment |  |  |  | 0 | 0
Other stewardship equipment
Furniture |  | Chairs |  |  |  | 0 | 0
|  | Tables |  |  |  | 0 | 0
|  | Special furniture |  |  |  | 1000 | 0
|  | Kitchen |  |  |  | 0 | 0
Other furniture equipment
Reprography |  | Reprography equipment |  |  |  | 2000 | 95
|  | Photocopy machines |  |  |  | 2000 | 95
Other reprography equipment